## English
Changeover aid Signal pillars
Modular system
Old Art.Nr. | Description | New Art. Nr. | Description
2374060 | Light bulbs for continuous light elements, 24 V, 5W | discontinued | These are light bulbs and the associated optical elements, which are ommited withouth replacement. The customer has to switch to LED technology. Pay attention to switch to the right voltage, either 24 V or 230 V. See below, for the available options.
2374070 | Light bulbs for continuous light elements, 230 V, 5W | discontinued
2369000 | Optical elements, modular, continuous light element 12-240V AC/DC, red | discontinued
2369010 | Optical elements, modular, continuous light element 12-240V AC/DC, green | discontinued
2369020 | Optical elements, modular, continuous light element 12-240V AC/DC, yellow | discontinued
2396030 | Optical elements, modular, continuous light element 12-240V AC/DC, clear | discontinued
2396040 | Optical elements, modular, continuous light element 12-240V AC/DC, blue | discontinued
2372000 | LED continuous light element 24V AC/DC, red | 2372001 | SG LED continuous light element, red 24V AC/DC
2372010 | LED continuous light element 24V AC/DC, green | 2372011 | SG LED continuous light element, green 24V AC/DC
2372020 | LED continuous light element 24V AC/DC, yellow | 2372021 | SG LED continuous light element, yellow 24V AC/DC
2372030 | LED continuous light element 24V AC/DC, Clear | 2372031 | SG LED continuous light element, clear 24V AC/DC
2372040 | LED continuous light element 24V AC/DC, blue | 2372041 | SG LED continuous light element, blue 24V AC/DC
2370150 | LED continuous light element 230V, red | 2370151 | SG LED continuous light element, red, 230V
2370160 | LED continuous light element 230V, green | 2370161 | SG LED continuous light element, green, 230V
2370170 | LED continuous light element 230V, yellow | 2370171 | SG LED continuous light element, yellow, 230V
2370500 | LED flashing light element 24V AC/DC, red | 2370501 | SG LED flashing light element, red, 24V AC/DC
2370510 | LED flashing light element 24V AC/DC, green | 2370511 | SG LED flashing light element, green,24V AC/DC
2370520 | LED flashing light element 24V AC/DC, yellow | 2370521 | SG LED flashing light element, yellow, 24V AC/DC
2370530 | LED flashing light element 24V AC/DC, Clear | 2370531 | SG LED flashing light element, clear,24V AC/DC
2370540 | LED flashing light element 24V AC/DC, blue | 2370541 | SG LED flashing light element, blue, 24V AC/DC
2370550 | LED flashing light element 230V, red | 2370551 | SG LED flashing light element, red, 230V
2370560 | LED flashing light element 230V, green | discontinued
2370570 | LED flashing light element 230V, yellow | 2370571 | SG LED flashing light element, yellow, 230V
2376000 | Acoustic elements for signal pillars, modular, 24V AC/DC, 85dB | 2376001 | SG Acoustic element, 95-105 dB, 24V
2376010 | Acoustic elements for signal pillars, modular, 24V AC/DC, 100dB | 2376011 | SG Acoustic element, 102 dB, 24V
2376020 | Acoustic elements for signal pillars, modular, 230V, 85dB | 2376021 | SG Acoustic element, 95-105 dB, 230V
2376030 | Acoustic elements for signal pillars, modular, 230V, 100dB | 2376031 | SG Acoustic element, 102 dB; 230V
2371000 | Flash light element 24V (DC), red | 2371001 | SG LED flash light element, red, 24V DC
2371020 | Flash light element 24V (DC), yellow | 2371021 | SG LED flash light element, yellow, 24V DC
2371050 | Flash light element 230V, red | discontinued
2371070 | Flash light element 230V, yellow | discontinued
2368000 | Connection element for signal pillars, modular for pipe mounting | 2368001 | SG Connection element for pipe
2368010 | Connection element for signal pillars, modular for wall/floor mounting | 2368002 | SG Connection element for wall/floor
Ready-to-connect system
Old Art.Nr. | Description | New Art. Nr. | Description
2372100 | Signal pillars, LED compact, 3 levels, red, yellow, green | 2372102 | SG Signal pillar triple LED, wall/floor
|  | 2372101 | SG Signal pillar triple LED, pipe
2372110 | Mounting element for wall/floor mounting, bracket for wall mounting | 2374040 | Mounting element for wall/floor mounting, bracket for connection element
2372120 | Connection adapter for signal pillar, LED compact for tube mounting | discontinued, already integrated in signal pillar triple LED, both versions
2372130 | Signal pillars, LED compact, 1 level, red | is replaced by 2372001+2368001
Accessories for signal pillars
Old Art.Nr. | Description | New Art. Nr. | Description
2374150 | Labeling board for signal pillars, modular for 5 optical elements | unchanged
2374040 | Mounting element for wall/floor mounting, bracket for connection element | unchanged
2374080 | Mounting element for wall/floor mounting, For lateral cable outlet | unchanged
2375030 | Assembly elements for support arm systems CP 40, steel | unchanged
6206900 | Assembly elements for support arm systems CP 60 | unchanged
6212900 | Assembly elements for support arm systems CP 120/180 | unchanged
2374000 | Mounting elements for tube mounting, foot with integrated pipe | unchanged
2374010 | Mounting elements for tube mounting, foot single | unchanged
2374020 | Mounting elements for pipe mounting, pipe single, 250 mm long | unchanged
2374030 | Mounting elements for pipe mounting, pipe single, 400 mm long | unchanged
2374050 | Mounting elements for pipe mounting, angle for pipe mounting | unchanged
48 Articles |  | 36 Articles

## Tabelle2 (hidden)
Modulare Kalotten
Alte Artikel |  | Neue Artikel
2x Glühlampen | 24V+230V | entfällt
5x Optische Elemente für Glühlampen | 12-240 V AC/DC;rot, grün,gelb,klar,blau | entfällt
5x LED Dauerlichtelemente | 24V AC/DC; rot, grün,gelb,klar,blau | 5x LED Dauerlichtelemente | 24V AC/DC; rot, grün,gelb,klar,blau
3x LED Dauerlichtelemente | 230V; rot, grün, gelb | 3x LED Dauerlichtelemente | 230V; rot, grün, gelb
5x LED Blinklichtelemente | 24V AC/DC; rot, grün,gelb,klar,blau | 5x LED Blinklichtelemente | 24V AC/DC; rot, grün,gelb,klar,blau
3x LED Blinklichtelemente | 230V; rot, grün, gelb | 2x LED Blinklichtelemente | 230V; rot, gelb
4x Blitzlichtelemente | 2x 24V DC, rot, gelb | 2x Blitzlichtelemente | 2x 24V DC, rot, gelb
2x Blitzlichtelemente | 2x 230V, rot,gelb | entfällt
4x Akustische Elemente | 2x 24V AC/DC,85 dB, 100 dB; 2x 230V, 85 dB, 100 dB | 4x Akustische Elemente | 2x 24V AC/DC,85 dB, 100 dB; 2x 230V, 85 dB, 100 dB
2x Anschluss-Elemente | 1x für Rohrmontage; 1x für Wandmontage | 2x Anschluss-Elemente | 1x für Rohrmontage; 1x für Wandmontage
LED Kompakt
Bezeichnung |  | Neue Artikel
Signalsäulen, LED-Kompakt, 3-stufig, rot, gelb, grün |  | Signalsäulen, LED-Kompakt, 3-stufig, rot, gelb, grün für Wandmontage
Signalsäulen, LED-Kompakt, 3-stufig, rot, gelb, grün für Rohrmontage
Montage-Element für Wand-/Bodenmontage, Winkel für Wandmontage |  | entfällt
Anschlussadapter für Signalsäule, LED-Kompakt zur Rohrmontage |  | entfällt
Signalsäulen, LED-Kompakt, 1-stufig, rot |  | wird ersetzt durch LED Dauerlicht 24V AC/DC, rot + Anschluss-Element
Zubehör zu Signalsäulen
Alte Artikel |  | Neue Artikel
Beschriftungstafel für Signalsäulen |  | Bleibt bestehen
2x Montage-Element für Wand-/Bodenmontage, | 1x Winkel und 1x seitlicher Kabelabgang | Bleibt bestehen
3x Montage-Elemente für Tragarmsysteme | Für CP 40, Stahl, CP 60, CP 120/180 | Bleibt bestehen
5x Montage-Elemente für Rohrmontage, | 2x Fuß-, 2x Rohrvarianten, sowie 1x Winkel | Bleibt bestehen
48 Artikel |  | 36 Artikel